Window Refurbishing
Specifications
Sliding Windows with Glass Replacement

Part  I:  General

1.1 Intent

1. Furnish and install the following components for the associated purposes:

Components



Purpose for replacement
Weather stripping


Improve energy efficiency
Rollers




Improve ease of operation

Insulated glass units with        
Improve energy efficiency, aesthetics
  (architect determined energy            and visibility
  and aesthetic specifications)
2. Contractor will take note that the major work includes, but is not limited to the
  replacement of the above items.
1.2 Submittals

1. Product Data:  Submit samples of materials to be used with manufacturer’s product literature for all replacement components to be installed in existing windows demonstrating compliance with specified requirement.

2. Samples:  Submit operating samples of each replacement component required.
3. Mock-up:  Prior to contract awarding, the contractor of choice will be asked to do a  mock-up of one window based on the contract documents.  The test mock-up will be used as a basis of acceptability of quality and workmanship.  

1.3 Quality Assurance

Qualifications:  Pre-qualifications for window repair contractors.  Contractors seeking to submit bids on this project must specialize in the window repair industry, and shall have the following minimum qualifications:

1. Contractors must have a minimum of ten years experience in window repair industry.
2. Contractors must have a minimum of ten years experience in aluminum window glazing systems. 
3. Contractors to submit a list of ten completed projects of similar scope, complete with names, addresses, phone numbers, and contact people. 

1.4
Project Conditions
1.    Field verification: Check all existing windows by field survey prior to 
           ordering materials. Submit field survey report to show existing condition and 
           specific repair method.
1.5
Warranty
1. Insulating Glass Units  - Glass Manufacturer:

A. Submit written manufacturer's warranty against seal failure on all
     replacement glass units.
2. Repair Warranty – Contractor:

A.  Submit written and signed warranty covering complete window repair 
      processes for one year from date of substantial completion of contract, 
      stating that repair of window accessories conform to standards
      specified in this section. 

B.  Any corrective work required during a warranty period to correct
      failures will conform to specifications and shall be performed by 
      contractor at no additional cost to Awarding Authority. 

Part II:  Products
2.1
Manufacturers And Products


A.  Products and Manufacturers as follows:

Weather stripping:
Jamb track:  Schlegal 7426-6011-6 or w/s of
                                                        equal quality



Head & sill tracks:  Schlegal 8420-5016-5 or 
                                                                     w/s of equal quality
Glass:


Insulating glass units with (architect-determined 
                                    energy and aesthetic specifications)
Silicone:  

Dow Corning 795 Structural Silicone Adhesive



(or adhesive of similar quality)

Small Joint Sealant:
Acryl-R small joint sealant manufactured by
                                    Schnee-Moorehead, product # SM5700 
                                     (or adhesive of similar quality)

2.2
Components


A.   Accessory components:  Include rollers as recommended by manufacturer
                   for existing windows.

PART III:  Execution
1. Refurbish (X number) windows as follows:

 - Remove operable sash

 - Clean head, jamb and sill tracks of the frame with a cleaner suitable for
     aluminum, allow sufficient time to dry, and then lubricate head, jamb, and 
     sill tracks with an approved aluminum lubricant

  - Inspect all weather stripping and replace as needed to minimize air
     infiltration

  - Inspect all rollers and replace as needed to reduce operational forces
  - Replace operable sash

2. Furnish and install (X number) insulated glass units as follows with the materials and components specified previously in the above Specifications Section.  Work to be completed as follows:

a. Remove sash from window frame

b. Remove existing failed glass unit from sash

c. Inspect glazing channel and replace as needed

d. Install new insulating glass unit in sash

e. Seal glazing channel at exterior corners and channel seam with silicone as noted above

f. Seal sash joinery as needed with small joint sealant as noted above

g. Reinstall sash in window frame

3. Remove and dispose all debris from the site.

4. Return the building and adjacent areas affected by the work to their original condition.

5. Submit a completed work log to the awarding authority in a commonly acceptable electronic format.

