Window Refurbishing

Specifications
Double Hung Windows

Part  I:  General

  - Intent

- Replace sash balances & complete a general refurbishing of existing windows
 to improve their operation and energy efficiency.

- Contractor will take note that the major work includes, but is not limited to the replacement of the window sash balances.

  - Submittals

- Product Data:  Submit samples of materials to be used with manufacturer’s product literature for all replacement components to be installed in existing windows demonstrating compliance with specified requirement.

- Mock-up:  Prior to contract awarding, the contractor of choice will be asked to do a  mock-up of one window based on the contract documents.  The test mock-up will be used as a basis of acceptability of quality of workmanship and the ability of the balance system to perform.

  - Quality Assurance

Qualifications:  Pre-qualifications for window repair contractors.  Contractors seeking to submit bids on this project must specialize in the window repair industry, and shall have the following minimum qualifications:

- Contractors must have a minimum of ten years experience in window balance replacement and calibration.

- Contractors must have a minimum of ten years experience in aluminum window glazing systems.

- Contractors to submit a list of ten completed window balance repair projects complete with names, addresses, phone numbers, and contact people.

1.4	Project Conditions

1.    Field verification: Check all existing windows by field survey prior to 
           ordering materials. Submit field survey report to show existing condition and 
           specific repair method.

1.5	Warranty

- Class 5 Sash Balances - Balance Manufacturer:

A. Submit written manufacturer's warranty of class 5 balances, agreeing to
     replace units that fail in materials or manufacture for 5 years, from 
     substantial completion of contract.

- Repair Warranty – Contractor:

A.  Submit written and signed warranty covering complete window repair 
      processes for one year from date of substantial completion of contract, 
      stating that repair of window accessories conform to standards
      specified in this section.

B.  Any corrective work required during a warranty period to correct
      failures will conform to specifications and shall be performed by 
      contractor at no additional cost to Awarding Authority.

Part II:  Products

2.1	Manufacturers And Products

	A.  Window Balances:  Provide Ultra-Lift Balances by Caldwell
                  Manufacturing, Rochester, NY, or approved equal.

2.2	Components

	A.   Accessory components:  Include carrier assemblies, sash caps and 
                   locking hardware as recommended by manufacturer for existing 
                   windows – or improved alternative as specified and/or approved by 
                   owner/architect.

2.3	Materials

	A.  Balances:
	      1.   Balances shall be of appropriate size and capacity to hold sash in 
                        position with no movement.
	       2.  Balances shall be high performance sash balances that are tested 
                        in accordance with AAMA 902192 Voluntary Specification for 
                        sash balances.
	       3.  Balances shall meet all minimum Class 5 requirements with a 
                        minimum .30 Manually Applied Force Ration (MAF).
                   4.  Compliance to 902.92 Class 5 and MAF ratio shall be verified 
                        by a test report from an AAMA accredited laboratory.

PART III:  Execution

- Refurbish windows as follows:

  - Remove sash

  - Remove existing block & tackle balances (lower sash only)

  - Install Caldwell Ultra-Lift Balance Systems or similar (lower sash only)

  - Adjust interlocks as needed

  - Inspect all weather stripping and replace as needed (existing type or better)

  - Clean and lubricate jamb channels

  - Reinstall sash

  - Secure top sash in closed position

  - Inspect all locking hardware and replace locking hardware as needed for proper operation & locking

  - Replace plastic sash stops with aluminum bar stops

  - Install four guides on the face of the lower sash to prevent lateral  movement (side load windows only)

- Remove and dispose of all debris

- Return work area to its original condition

- Submit a completed work log to the awarding authority in a commonly acceptable electronic format.